## Лист2
Артикул | Нименования | Mult
168233-B21 | Cable Management D Rings (for G1/G2/V142/i-series) | 2
AF612A | HP PS2 Server Console Cable, 6 foot/1.8m, 2-Pack (for AF611A) | 2
P9K03A | HPE 22U/600x1075mm, G2 Kitted Advanced Pallet Rack (with front & rear doors & Side Panels and Baying) | 2
P9Q37A | HPE 1Phase 3.6kVA 100-240V 16A G2 Basic PDU (Outlets: 12xC13, Input IEC C20, 1U/0U, horizontal mount) | 2
Q1F48A | HPE UPS T750 G5 INTL, 220V/230V/240V, 850VA/600W, Input C14, Output 6 - IEC C13, analog J2P88A | 2
455883R-B21 | HPE Ethernet Optical Transceivers, 10Gb, SR, SFP+ for 523/530/546/557/560/571SFP+, 640SFP28/640FLR-SFP28 & other, Reman, analog 455883-B21 | 2
627812R-B21 | HPE 16GB (1x16Gb 2Rank) 2Rx4 PC3L-10600R-9 LV Registered DIMM for BL2x220cG7/280cG6/460cG7/490cG7/620cG7/680cG7, DL160G6/180G6/320G6/360G7/370G6/380G7/580G7, ML350G6/370G6, Reman, analog 627812-B21 | 2
713985R-B21 | HPE 16GB (1x16GB) 2Rx4 PC3L-12800R-11 Low Voltage Registered DIMM for only E5-2600v2 DL360p/380p, ML350p, BL460c Gen8, Reman, analog 713985-B21 | 2
860649-B21 | HPE DL360 Gen10 Intel Xeon-Bronze 3104 (1.7GHz/6-core/85W) Processor Kit | 2
860651-B21 | HPE DL360 Gen10 Intel Xeon-Bronze 3106 (1.7GHz/8-core/85W) Processor Kit | 2
860663-B21 | HPE DL360 Gen10 Intel Xeon-Gold 5118 (2.3GHz/12-core/105W) Processor Kit | 2
860687-B21 | HPE DL360 Gen10 Intel Xeon-Gold 6130 (2.1GHz/16-core/125W) Processor Kit | 1.5
866522-B21 | HPE ML350 Gen10 Intel Xeon-Bronze 3106 (1.7GHz/8-core/85W) Processor Kit | 2
P02491-B21 | HPE DL380 Gen10 Intel Xeon-Silver 4208 (2.1GHz/8-core/85W) Processor Kit | 1.5
819203-B21 | HPE 8TB 3,5" (LFF) SATA 7.2K 6G Hot Plug SC 512e Midline (for Gen9, DL360/DL380/DL385 Gen10 servers) | 2
846514-B21 | HPE 6TB 3,5" (LFF) SAS 7.2K 12G Hot Plug SC Midline (for HP Proliant Gen9, DL360/DL380/DL385 Gen10 servers) | 2
846524-B21 | HPE 1TB 3.5"(LFF) SAS 7,2K 12G HotPlug w Smart Drive SC Midline (for HP Proliant Gen9, DL360/DL380/DL385 Gen10 servers & D3000) | 2
861691-B21 | HPE 1TB 3.5"(LFF) SATA 7,2k 6G Hot Plug SC Midline (for HP Proliant Gen9, DL360/DL380/DL385 Gen10 servers & D3000) analog 657750-B21 | 2
870757-B21 | HPE 600GB 2,5''(SFF) SAS 15K 12G Hot Plug w Smart Drive SC DS Enterprise HDD (for HP Proliant Gen9/Gen10 servers) | 2
872491-B21 | HPE 4TB 3.5"(LFF) SATA 7,2k 6G Hot Plug SC Midline DS (for Proliant Gen9, DL360/DL380/DL385 Gen10 servers) analog 861678-B21 | 2
875472-B21 | HPE 480GB 3.5'' (LFF) 6G SATA Mixed Use Hot Plug SCC DS SSD (for Gen9, DL360/DL380/DL385 Gen10 servers) | 2
880295-B21 | HPE 240GB 2.5"(SFF) 6G SATA Mixed Use Hot Plug SC DS SSD (for HP Proliant Gen9/Gen10 servers) | 2
P04693-B21 | HPE 300GB 3,5''(LFF) SAS 15K 12G Hot Plug w Smart Drive SCC DS Enterprise HDD (for DL360/380/385 Gen10 servers) | 2
P04695-B21 | HPE 600GB 3,5''(LFF) SAS 15K 12G Hot Plug w Smart Drive SCC DS Enterprise HDD (for DL360/380/385 Gen10 servers) | 2
P07926-B21 | HPE 960GB 2.5"(SFF) 6G SATA Mixed Use Hot Plug SC DS SSD, (for HP Proliant Gen9/Gen10 servers) analog 875474-B21 | 2
805349-B21 | HPE 16GB (1x16GB) 1Rx4 PC4-2400T-R DDR4 Registered Memory Kit for only E5-2600v4 Gen9 | 2
805351-B21 | HPE 32GB (1x32GB) 2Rx4 PC4-2400T-R DDR4 Registered Memory Kit for only E5-2600v4 Gen9 | 2
815097-B21 | HPE 8GB (1x8GB) 1Rx8 PC4-2666V-R DDR4 Registered Memory Kit for Gen10 | 2
838081-B21 | HPE 16GB (1x16GB) 1Rx4 PC4-2666V-R DDR4 Registered Memory Kit for DL385 Gen10 | 2
838083-B21 | HPE 32GB (1x32GB) 2Rx4 PC4-2666V-R DDR4 Registered Memory Kit for DL385 Gen10 | 2
838089-B21 | HPE 16GB (1x16GB) 2Rx8 PC4-2666V-R DDR4 Registered Memory Kit for DL385 Gen10 | 2
862974-B21 | HPE 8GB (1x8GB) 1Rx8 PC4-2400T-E-17 Unbuffered Standard Memory Kit for DL20/ML30 Gen9/Microserver Gen10 | 1.5
P00918-B21 | HPE 8GB (1x8GB) 1Rx8 PC4-2933Y-R DDR4 Registered Memory Kit for Gen10 Cascade Lake | 1.5
P00920-B21 | HPE 16GB (1x16GB) 1Rx4 PC4-2933Y-R DDR4 Registered Memory Kit for Gen10 Cascade Lake | 2
P00922-B21 | HPE 16GB (1x16GB) 2Rx8 PC4-2933Y-R DDR4 Registered Memory Kit for Gen10 Cascade Lake | 2
720478-B21 | HPE Hot Plug Redundant Power Supply Flex Slot Platinum 500W Option Kit for DL360/380 Gen9, ML350 Gen9 | 2
764642-B21 | HPE DL360 Gen9 Low Profile PCIe Slot CPU2 Kit | 2
768856-B21 | HPE 3LFF Rear SAS/SATA HDD Cage for DL380 Gen9 (supp. only in 12LFF chassic, consume the 2nd riser expansion slot) | 2
768857-B21 | HPE Secondary 2U 8SFF HDD Cage w/ Backplane, in Bay2 Option Kit for DL380 Gen9 | 2
775595-B21 | HPE Hot Plug Redundant Power Input Module 900W Gold 80 Plus for DL20/60/80/120/160/180 ML150 Gen9 (for DL20 Gen9 requires one 820306-B21) | 2
814835-B21 | HPE Server RPS Backplane Kit for DL20/60/80/120/160/180 & ML150 Gen9 (only compatible with 775595-B21) | 2
816284-B21 | HPE DL20 Gen9 M.2 RA/ODD Pwr Cable Kit | 2
818213-B21 | HPE DVD/USB Universal Media Bay (DVD-ROM, USB 2.0, and VGA) Kit for 8SFF DL360 Gen9 | 2
826687-B21 | HPE DL38X Gen10 2SFF Premium HDD Front NVMe/SAS/SATA Kit (Supports uFF drives) | 2
826690-B21 | HPE DL38X Gen10 Premium 6 SFF SAS/SATA + 2 NVMe or 8 SFF SAS/SATA Bay Kit | 2
841425-B21 | HPE ML10 Gen9 HDD Cable screw Kit (up 4HDD to 5HDD) | 2
867805-B21 | HPE DL38X Gen10 LFF 2xSFF SAS/SATA Kit (Adds support for 2 SFF in front of 8 LFF chassis) | 2
867809-B21 | HPE Gen10 2U Bezel Kit | 2
867982-B21 | HPE DL360 Gen10 Low Profile Riser Kit | 2
867984-B21 | HPE DL360 Gen10 Chassis Intrusion Detection Kit | 2
867998-B21 | HPE 1U Gen10 Bezel Kit | 2
871244-B21 | HPE DL360 Gen10 High Performance Fan Kit | 1.5
873961-B21 | HPE 1U Gen10 8SFF ODD Enablement Kit | 2
874568-B21 | HPE ML350 Gen10 8SFF HDD Cage Kit | 2
874577-B21 | HPE ML350 Gen10 Slimline ODD Bay Kit | 2
874578-B21 | HPE Tower to Rack Conversion Tray Kit for ML110/ML350 Gen10 | 2
882097-B21 | HPE DL385 Gen10 Universal Media Bay | 2
P06305-B21 | HPE ML30 Gen10 4U RPS Enablement Kit | 2
P06309-B21 | HPE ML30 Gen10 Slim ODD Enablement Kit | 2
665249-B21 | HPE Ethernet Adapter, 560SFP+, 2x10Gb, PCIe(2.0), Intel, for DL165/580/585/980G7 & Gen8/Gen9-servers | 2
766203-B21 | HPE DL360 LFF Optical Cable (for 726536-B21 or 726537-B21 in DL360 Gen9) | 2
870549-B21 | HPE DL38X Gen10 12Gb SAS Expander Card Kit with Cables (enable 24 SFF field upgrade) | 2
874575-B21 | HPE ML350 Gen10 SFF SA/HBA Cable Kit | 2
874576-B21 | HPE ML350 Gen10 12Gb SAS Expander Kit with Cables | 2
P05968-B21 | HPE DL325 Gen10 4LFF ODD Cable Kit | 2
P06683-B21 | HPE DL20 Gen10 M.2 SATA/LFF AROC Cbl Kit | 1.5
871141-251 | HPE Windows Server 2016 Essentials Edition, ROK DVD for 2CPU, 64GB, RU/En, up to 25 users or 50 devices, No virtualization, (Proliant only) | 2
P00487-251 | HPE Windows Server 2016 Standard Edition, RU, 16-Core, ROK DVD (Proliant only) | 2
P11070-251 | HPE Windows Server 2019 Essentials Edition, ROK DVD for 2CPU, 64GB, RU/En, up to 25 users or 50 devices, No virtualization, (Proliant only) | 2
BD711A | HPE VMware vSphere Standard 1 Processor 3yr LTU | 2
826567-B21 | Proliant DL380 Gen10 Gold 6130 Rack(2U)/2xXeon16C 2.1GHz(22MB)/2x32GbR2D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/24+6up)SFF/DVDRW/iLOadv/6HPFans/4x1GbEth/2x10/25Gb640SFP/EasyRK+CMA/2x800w | 2
843375-425 | Proliant DL360 Gen9 E5-2620v4 Rack(1U)/Xeon8C 2.1GHz(20MB)/1x16GbR1D_2400/P440arFBWC(2GB/RAID 0/1/10/5/50/6/60)/2x300_10K_12G(8)SFF/UMB&DVDRW/iLOstd/4x1GbEth/EasyRK&CMA /1x500wFPlat(2up), 774437-425 | 2
867963-B21 | Proliant DL360 Gen10 Gold 5118 Rack(1U)/2xXeon12C 2.3GHz(16.5Mb)/2x16GbR2D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/10+1up)SFF/noDVD/iLOadv/7HPfan/4x1GbEth/2x10/25GB640FLR-SFP/EasyRK/2x800w | 2
877621-421 | ProLiant ML350 Gen10 Silver 4110 HotPlug Tower(4U)/Xeon8C 2.1GHz(11Mb)/1x16GbR1D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/24up)SFF/noDVD/iLOstd/2NHPFans/4x1GbEth/1x800W(2up)analog835263-421 | 2
877623-421 | ProLiant ML350 Gen10 Gold 5118 HotPlug Tower(4U)/2xXeon12C 2.3GHz(16,5Mb)/2x16GbR1D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/24up)SFF/noDVD/iLOstd/6NHPFans/4x1GbEth/2x800W(2up), 835265-421 | 2
878720-B21 | Proliant DL385 Gen10 7401 Rack(2U)/EPYC24C 2.0GHz(64MB)/2x16GbR2D_2666/P408i-aFBWC+Exp(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(24/up+6)SFF/DVD(not avail.)/iLOstd/6HPFans_HiPerf/4x1GbEth/EasyRK+CMA/1x800w(2up | 2
878722-B21 | Proliant DL385 Gen10 7451 Rack(2U)/2xEPYC24C 2.3GHz(64MB)/2x32GbR2D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/up24+6)SFF/DVDRW/iLOadv/6HPFans_HighPerf/4x1GbEth/2x10/25GbSFP/EasyRK+CMA/2x800w | 2
P02467-B21 | Proliant DL380 Gen10 Silver 4208 Rack(2U)/Xeon8C 2.1GHz(11MB)/2x16GbR2D_2933/P408i-aFBWC+Exp(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(24up)SFF/noDVD/iLOstd/6HPFans/4x1GbEth/EasyRK+CMA/1x800wPlat(2up) | 2
P03630-B21 | Proliant DL360 Gen10 Silver 4208 Rack(1U)/Xeon8C 2.1GHz(11Mb)/1x16GbR2D_2933/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/10+1up)SFF/noDVD/iLOstd/4x1GbEth/EasyRK/1x500wFPlat | 2
P04674-425 | ProLiant ML350 Gen10 Silver 4110 HotPlug Tower(4U)/Xeon8C 2.1GHz(11Mb)/1x16GbR1D_2666/E208i-a(ZM/RAID 0/1/10/5)/noHDD(8/24up)SFF/noDVD/iLOstd/2NHPFans/4x1GbEth/1x800Wplat(2up) | 2
P06421-B21 | Proliant DL380 Gen10 Silver 4114 Rack(2U)/Xeon10C 2.2GHz(13.75MB)/1x32GbR2D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/24+6up)SFF/noDVD/iLOstd/4HPFans/4x1GbEth/EasyRK+CMA/1x800w(2up) | 2
P06454-B21 | Proliant DL360 Gen10 Gold 5118 Rack(1U)/Xeon12C 2.3GHz(16.5Mb)/1x32GbR2D_2666/P408i-aFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/10+1up)SFF/noDVD/iLOstd/5HPfan/4x1GbEth/EasyRK/2x800w | 1.5
P11050-421 | ProLiant ML350 Gen10 Silver 4208 Tower(4U)/Xeon8C 2.1GHz(11MB)/1x16GbR1D_2933/E208i-a(ZM/RAID 0/1/10/5)/noHDD(4/12up)LFF/noDVD/iLOstd/2NHPFans/4x1GbEth/1x500W(2up) | 2
869847-B21 | Proliant DL580 Gen10 Gold 6148 Rack(4U)/4xXeon20C 2.4GHz(27,5Mb)/8x16GbR1D_2666/P408i-pFBWC(2Gb/RAID 0/1/10/5/50/6/60)/noHDD(8/48up)SFF/12HPFans/OVadv/2x10Gb535FLR-T/16xPCIe/EasyRK+CMA/4x1600W | 2
R1R75A | HPE StoreEver MSL 1/8 G2 0-drive Tape Autoloader | 2
AH166A | HP Autoloader 1/8 G2 Rack Kit (for use with BL536B, BL541B, C0H18A, C0H19A) | 2
Q6Q65A | HPE StoreEver 1/8 G2 LTO-8 Ultrium 30750 FC Tape Autoloader | 2
AK379A | HP MSL2024 0-Drive Tape Library (up to 1 FH or 2 HH Drive), incl. Rack-mount hardware | 2
N7P36A | HPE MSL LTO-7 Ultrium 15000 FC Half Height Drive Kit (recom. use with MSL2024 / 4048 /8096 libraries) | 2
N7P37A | HPE MSL LTO-7 Ultrium 15000 SAS Half Height Drive Kit (recom. use with MSL2024 / 4048 /8096 libraries) | 2
Q6Q67A | HPE MSL LTO-8 Ultrium 30750 FC Half Height Drive Kit (recom. use with MSL2024 / 4048 /8096 libraries) | 2
Q6Q68A | HPE MSL LTO-8 Ultrium 30750 SAS Half Height Drive Kit (recom. use with MSL2024 / 4048 /8096 libraries) | 2
Q1J09A | HP D3610 LFF 12Gb SAS Disk Enclosure (2U; up to 12x SAS/SATA drives (Gen8/9/10), 2xI/O module, 2xfans and RPS, 2x0,5m HD Mini-SAS cables) for gen10 server | 2
Q1J10A | HP D3710 SFF 12Gb SAS Disk Enclosure (2U; up to 25x SAS/SATA drives (Gen8/9/10), 2xI/O module, 2xfans and RPS, 2x0,5m HD Mini-SAS cables) for gen10 server | 2
Q1J00A | HP MSA 2050 SAN LFF Modular Smart Array System ( 2xSAN Controller, 2xRPS, w/o disk up to 12 LFF, sfp, req. C8R23B, C8R24B, C8S75B, C8R25B) analog K2R79A | 2
Q1J01A | HP MSA 2050 SAN SFF Modular Smart Array System ( 2xSAN Controller, 2xRPS, w/o disk up to 24 SFF, sfp, req. C8R23B, C8R24B, C8S75B, C8R25B) analog K2R80A | 2
Q1J28A | HPE MSA 2050 SAS LFF Modular Smart Array System ( 2xSAS Controller, 2xRPS, 8xSFF8644 (miniSASHD) host ports, w/o disk up to 12 LFF (max HDD per array 192 SFF/96 LFF)) analog K2R83A | 2
Q1J29A | HPE MSA 2050 SAS SFF Modular Smart Array System ( 2xSAS Controller, 2xRPS, 8xSFF8644 (miniSASHD) host ports, w/o disk up to 24 SFF(max HDD per array 192 SFF/96 LFF)) analog K2R84A | 2
Q1J06A | HPE MSA LFF 12 Disk Enclosure (used with LFF or SFF array head, w/ 2x0.5m miniSAS cables) for MSA1040/2040/1050/2050 replaced M0S96A | 2
Q1J07A | HPE MSA 2050 SFF 24 Disk Enclosure (used with LFF or SFF array head, w/ 2x0.5m miniSAS cables) | 2
Q1J02A | HPE MSA 2052 SAN LFF Modular Smart Array System ( 2xSAN Controller, 2xRPS, 2xSSD 800Gb (P9M80A), Advanced Data Services LTU (Q0H99A), w/o sfp, req. C8R23B, C8R24B, C8S75B, C8R25B) analog Q0F05A | 2
Q1J03A | HPE MSA 2052 SAN SFF Modular Smart Array System ( 2xSAN Controller, 2xRPS, 2xSSD 800Gb (N9X96A), Advanced Data Services LTU (Q0H99A), w/o sfp, req. C8R23B, C8R24B, C8S75B, C8R25B) analog Q0F06A | 2
Q1J30A | HPE MSA 2052 SAS LFF Modular Smart Array System (incl. 1x2050 LFF SAS MSA(Q1J28A), 2xSSD 800Gb (P9M80A), Advanced Data Services LTU (Q0H99A), 8xSFF8644 host ports, 2xRPS) analog Q0F07A | 2
Q1J31A | HPE MSA 2052 SAS SFF Modular Smart Array System (incl. 1x2050 SFF SAS MSA(Q1J29A), 2xSSD 800Gb (N9X96A), Advanced Data Services LTU (Q0H99A), 8xSFF8644 host ports, 2xRPS) analog Q0F08A | 2
C8R23B | 8Gb Short Wave Transceiver Kit 4 Pk for MSA2050/2052/2040/2042 (Q1J00A, Q1J01A, Q1J02A, Q1J03A) analog C8R23A | 2
C8R24B | 16Gb Short Wave Transceiver Kit 4 Pk for MSA2050/2052/2040/2042 (Q1J00A, Q1J01A, Q1J02A, Q1J03A) analog C8R24A | 2
C8S75B | 1Gb RJ-45 iSCSI SFP 4 Pk for MSA2050/2052/2040/2042(Q1J00A, Q1J01A, Q1J02A, Q1J03A) analog C8S75B | 2
C8R25B | 10Gb SW iSCSI SFP 4 Pk for MSA2050/2052/2040/2042(Q1J00A, Q1J01A, Q1J02A, Q1J03A) analog C8R25B | 2
N9X96A | 800GB 2.5''(SFF) SAS 12G Mixed Use 12G Hot plug SSD for MSA2040/2042/1040/1050/2050/2052 | 2
R0Q35A | 960GB 2.5''(SFF) SAS 12G Read Intensive 12G Hot plug SSD for MSA1050/2050/2052 | 2
R0Q37A | 1,92TB 2.5''(SFF) SAS 12G Read Intensive 12G Hot plug SSD for MSA1050/2050/2052 | 2
P9M79A | HPE MSA 400GB 12G SAS MU LFF CC SSD | 2
P9M80A | HPE MSA 800GB 12G SAS MU LFF CC SSD | 2
R0Q36A | HPE MSA 960GB SAS 12G Read Intensive LFF (3.5in) 3yr Wty SSD | 2
R0Q38A | HPE MSA 1.92TB SAS 12G Read Intensive LFF (3.5in) 3yr Wty SSD | 2
Q1H47A | 900GB 2,5''(SFF) SAS 15K 12G Hot Plug Dual Port for P2000/MSA2040/2042/1040/1050/2050/2052 only (E7W00A, E7W02A, E7W04A, K2Q89A, C8R15A, C8S55A, C8R10A, AJ941A, Q0F06A, Q0F08A, Q0F72A, Q0F73A) | 2
J9F48A | 1,2TB 2,5''(SFF) SAS 10K 12G Hot Plug Dual Port for P2000/MSA2040/2042/1040/1050/2050/2052 only (E7W00A, E7W02A, E7W04A, C8R15A, C8S55A, C8R10A,AJ941A) analog E7W47A | 2
J9F49A | 1,8TB 2,5''(SFF) SAS 10K 12G 512e Hot Plug DP for MSA2040/2042/1040/1050/2050/2052 | 2
Q2R41A | 2,4TB 2,5''(SFF) SAS 10K 12G 512e Hot Plug DP for MSA2040/2042/1040/1050/2050/2052 | 2
K2Q82A | 4TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G for MSA2040/1040/2050/1050 analog C8R26A | 2
J9F43A | 6TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G for MSA2040/1040/2050/1050 analog J9F36A | 2
M0S90A | 8TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G 512e for MSA2040/1040/2050/1050 | 2
P9M82A | 10TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G 512e for MSA2040/1040/2050/1050 | 2
Q2R42A | 12TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G 512e for MSA2050/1050 | 2
R0Q21A | 14TB 3,5''(LFF) NL-SAS 7.2K Hot Plug DP 12G 512e for MSA2050/1050 | 2
P9D94A | HPE SN1100Q Dual Channel 16Gb FC Host Bus Adapter PCI-E 3.0 (LC Connector), incl. 2x16 Gbps SFP+, incl. h/h & f/h. Brckts, for Gen9 / 10 | 2
QK724A | HP B-series 16Gb SFP+SW XCVR | 2
QW937B#ABB | HP SAN switch 24/12 SN3000B(ext. 24x16Gb ports - 12 active Full Fabric ports, soft, no SFP) analog QW937A#ABB | 2
QW938B#ABB | HP SAN switch 24/24 SN3000B(ext. 24x16Gb ports - 24 active Full Fabric ports, soft, no SFP) analog QW938A#ABB | 2
Q1H70B#ABB | HPE SAN switch SN3600B 24/8 32Gb (ext. 24x32Gb ports - 8 active ports,Advanced Fabric Os, Advanced Web Tools and Advanced Zoning, no SFP) analog Q1H70A | 2
AM868CR#ABB | HP SAN switch 8/24 (ext. 24x8Gb ports - 16x active Full Fabric ports, soft, no SFP`s) Remarketing full analog AM868B#ABB, AM868C#ABB | 2